{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["附表2工程量报价清单"],"read":"whole","date_system":"1900"}

{"sheet":"附表2工程量报价清单","index":0,"n_rows":14,"n_cols":13,"rows_kept":14,"merged":[[0,0,0,12],[2,0,13,0],[2,1,13,1],[2,2,8,2],[2,3,8,3],[2,4,3,4],[2,5,3,5],[2,6,3,6],[2,7,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11],[2,12,3,12],[9,2,10,2],[9,3,10,3],[9,4,10,4],[9,5,10,5],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[9,11,10,11],[9,12,10,12]]}
["山东航空学院部分雨污管道提升\n改造项目工程量报价清单"]
["序号","具体项目名称","小序","项目技术参数要求","地点","工程量（米）","质保年限","原料品牌、规格","报价产品的技术参数\n（对应要求的技术参数一条条列出配置清单）","报价产品的技术参数满足要求的技术参数程度（填写完全满足或优于或低于）","单价（元）","合价（元）","备注（原检查井居地面深度）"]
[1,"山东航空学院部分雨污管道提升改造项目",1,"污水管道DN600","聚英园餐厅北门口至知行中路健身路路口",100,{"$nulls":6},"起点2.98米，终点3.36米"]
[]
[{"$nulls":4},"憩园南电梯东污水井至知行中路路东侧污水管道",20]
[{"$nulls":4},"憩园南电梯东污水井至知行中路路东侧污水管道",20]
[{"$nulls":4},"钟书园隔油池至六号公寓西污水井",55,{"$nulls":6},"终点2.30米"]
[{"$nulls":4},"钟书园化粪池至新建污水管道",20]
[{"$nulls":4},"2号公寓楼东侧污水检查井至知行园餐厅东侧污水检查井",20]
[null,null,2,"污水管道DN800","知行园餐厅西侧污水检查井至学校北门口污水检查井",565,{"$nulls":6},"起点3.13米终点3.06米"]
[]
[null,null,3,"雨水管道DN600","知行园餐厅西侧雨水检查井至学校北门口雨水检查井",475]
[null,null,4,"雨水检查井至雨水管道","知行园餐厅北侧雨水检查井至学校北门口雨水检查井","15组"]
[null,null,5,"移除紫叶李树木","知行园餐厅北侧路口至学校北门路口绿化带","46颗"]